ALL PRODUCTS DATA

ONGRID INVERTERS

- ORI-(1/1.5/2/2.2/2.5/2.7/3/3.3/3.6/4)K-OG04P1-EU-CM1

- Add Inverter photo and Model no same like this, background similar or likewise.

- Tech specs.-

Max. PV Input Voltage- 550 v

Rated AC Output Power- 1-4kW

Rated AC Voltage- 230v

Max. Efficiency- 97.3%

Features-

- ORI-(3.6/4/4.2/4.6/5/5.2/6/6.2)K-OG05P1-EU-CM2

- Tech specs.-

Max. PV Input Voltage- 550 v

Rated AC Output Power- 3.6-6.2kW

Rated AC Voltage- 230v

Max. Efficiency- 97.5%

- ORI-(5/6/7/8/9/10/12/15)K-OG06P3-EU-CM2-P1

- Tech specs.-

Max. PV Input Voltage- 1100 v

Rated AC Output Power- 5-15kW

Rated AC Voltage- 415-440v

Max. Efficiency- 98.5%

- ORI-(18/20/25)K-OG05

- Tech specs.-

Max. PV Input Voltage- 1100 v

Rated AC Output Power- 18-25kW

Rated AC Voltage- 415-440v

Max. Efficiency- 98.5%

- ORI-(30/33/35/36)K-OG04P3-EU-CM2

- Tech specs.-

Max. PV Input Voltage- 1100 v

Rated AC Output Power- 33-36kW

Rated AC Voltage- 415-440v

Max. Efficiency- 98.6%

- ORI-(40/45)K-OG04P3-EU-CM3, ORI-50K-OG04P3-EU-CM4

- Tech specs.-

Max. PV Input Voltage- 800 v

Rated AC Output Power- 40-50kW

Rated AC Voltage- 415-440v

Max. Efficiency- 98.7%

- ORI-(60/70/75/80)K-OG04P3-EU-AM4

- Tech specs.-

Max. PV Input Voltage- 1100 v

Rated AC Output Power- 60-80kW

Rated AC Voltage- 415-440v

Max. Efficiency- 98.7%

- ORI-(70/75/80/90/100/110)K-OG03

- Tech specs.-

Max. PV Input Voltage- 1000 v

Rated AC Output Power- 70-110kW

Rated AC Voltage- 415-440v

Max. Efficiency- 98.8%

- ORI-(120/125/130/135/136)K-OG01P3-EU-AM8

- Tech specs.-

Max. PV Input Voltage- 1100 v

Rated AC Output Power- 120-136kW

Rated AC Voltage- 415-440v

Max. Efficiency- 98.8%