## Final
Sr. No | Product Category | Product Family | Phase Configuration | Family | As Per Data Sheet Model Series | Inv. Count | Oriana Inverter Models | Inverter Capacity | Oriana Inverter Models on Website | Weight | Dimension Inv. (W × H × D) Pallet (L x W x H) | Images | Data Sheet | User Manual | BIS Certificate | IEC Certificate | OND FIle | Sticker on Product | Box Design
1 | Grid-Tied PV Inverter | Residential Grid-Tied PV Inverter | Single Phase | 1 | OG6-GR1P(2-3)K01-NV-YD | 1 | OG6-GR1P2K01-NV-YD | 2kW | 2kW OG6-GR1P2K01-NV-YD | 5.7 kg | 310 × 210 × 139mm | Done | In Review
2 | [5 empty] | 2 | OG6-GR1P3K01-NV-YD | 3kW | 3kW OG6-GR1P3K01-NV-YD
3 |  |  |  | 2 | OG6-GR1P(4-5)K-S(21A) | 3 | OG6-GR1P5K-S(21A) | 5kW | 5kW OG6-GR1P5K-S(21A) | 9.5 kg | 330 × 371 × 161 mm | Done
4 |  |  | Three Phase | 3 | OG6-GR3P(3-10)K02-NV-ND | 4 | OG6-GR3P5K02-NV-ND | 5kW | 5kW OG6-GR3P5K02-NV-ND | 14.7 kg | 355 × 410 × 179 mm | Done
5 | [5 empty] | 5 | OG6-GR3P6K02-NV-ND | 6kW | 6kW OG6-GR3P6K02-NV-ND | 14.7 kg
6 | [5 empty] | 6 | OG6-GR3P8K02-NV-ND | 8kW | 8kW OG6-GR3P8K02-NV-ND | 15.4 kg
7 | [5 empty] | 7 | OG6-GR3P10K02-NV-ND | 10kW | 10kW OG6-GR3P10K02-NV-ND
8 |  |  |  | 4 | OG5-GR3P(3-25)K(21A) | 8 | OG5-GR3P12K(21A) | 12kW | 12kW OG5-GR3P12K(21A) | 19 kg | 310 × 518 × 219 mm | Done
9 | [5 empty] | 9 | OG5-GR3P15K(21A) | 15kW | 15kW OG5-GR3P15K(21A)
10 | [5 empty] | 10 | OG5-GR3P17K(21A) | 17kW | 17kW OG5-GR3P17K(21A) | 20.7 kg
11 | [5 empty] | 11 | OG5-GR3P20K(21A) | 20kW | 20kW OG5-GR3P20K(21A)
12 | [5 empty] | 12 | OG5-GR3P25K(21A) | 25kW | 25kW OG5-GR3P25K(21A) | 21.4 kg
13 |  | C&I Grid-Tied PV Inverter |  | 5 | OG6-GC3P(25-40)K03-NV-ND | 13 | OG6-GC3P25K03-NV-ND | 20kW | 20kW OG6-GC3P25K03-NV-ND | 25.3 kg | 355 × 625 × 250 mm | Done
14 | [5 empty] | 14 | OG6-GC3P30K03-NV-ND | 30kW | 30kW OG6-GC3P30K03-NV-ND | 25.5 kg
15 | [5 empty] | 15 | OG6-GC3P33K03-NV-ND | 33kW | 33kW OG6-GC3P33K03-NV-ND | 26.5 kg
16 | [5 empty] | 16 | OG6-GC3P36K03-NV-ND | 36kW | 36kW OG6-GC3P36K03-NV-ND
17 |  |  |  | 6 | OG6-GC3P(40-60)K-NV-ND | 17 | OG6-GC3P40K04-NV-ND | 40kW | 40kW OG6-GC3P40K04-NV-ND | 34.9 kg | 508 × 612 × 288 mm | Done
18 | [5 empty] | 18 | OG6-GC3P50K04-NV-ND | 50kW | 50kW OG6-GC3P50K04-NV-ND | 35.8 kg
19 | [5 empty] | 19 | OG6-GC3P60K05-NV-ND | 60kW | 60kW OG6-GC3P60K05-NV-ND | 38.6 kg
20 |  |  |  | 7 | OG6-GC(80-125)K | 20 | OG6-GC80K | 80kW | 80kW OG6-GC80K | 93 kg | 1014*567*345 mm | Done
21 | [5 empty] | 21 | OG6-GC100K | 100kW | 100kW OG6-GC100K | 96 kg
22 | [5 empty] | 22 | OG6-GC110K | 110kW | 110kW OG6-GC110K
23 | [5 empty] | 23 | OG6-GC125K | 125kW | 125kW OG6-GC125K
24 |  |  |  | 8 | OG6-GC3P(150-200)K07-NV-ND | 24 | OG6-GC3P150K07-NV-ND | 150kW | 150kW OG6-GC3P150K07-NV-ND | 105 kg | 1035.5 × 869 × 396 mm | Done
25 |  | Utility Grid-Tied PV Inverter |  | 9 | OG6-GU3P350K06-EV-ND | 25 | OG6-GU3P350K06-EV-ND | 350kW | 350kW OG6-GU3P350K06-EV-ND | 117 kg | 1089 x 813 x 379 mm
26 | Hybrid Inverter | Residential Hybrid Inverter | Single Phase | 1 | OG6-EH1P(3-8)K-L-PLUS | 1 | OG6-EH1P3K-L-PLUS | 3kW | 3kW OG6-EH1P3K-L-PLUS | 23 kg | 335 × 560 × 253 mm | Done
27 | [5 empty] | 2 | OG6-EH1P3.6K-L-PLUS | 3.6kW | 3.6kW OG6-EH1P3.6K-L-PLUS
28 | [5 empty] | 3 | OG6-EH1P5K-L-PLUS | 5kW | 5kW OG6-EH1P5K-L-PLUS
29 | [5 empty] | 4 | OG6-EH1P6K-L-PLUS | 6kW | 6kW OG6-EH1P6K-L-PLUS | 23.5 kg
30 | [5 empty] | 5 | OG6-EH1P8K-L-PLUS | 8kW | 8kW OG6-EH1P8K-L-PLUS
31 |  |  | Three Phase | 2 | OG6-EH3P(8-18)K02-NV-YD-L | 6 | OG6-EH3P8K02-NV-YD-L | 8kW | 8kW OG6-EH3P8K02-NV-YD-L | 42 kg | 430 × 660 × 305 mm | Done
32 | [5 empty] | 7 | OG6-EH3P10K02-NV-YD-L | 10kW | 10kW OG6-EH3P10K02-NV-YD-L
33 | [5 empty] | 8 | OG6-EH3P12K02-NV-YD-L | 12kW | 12kW OG6-EH3P12K02-NV-YD-L
34 | [5 empty] | 9 | OG6-EH3P15K02-NV-YD-L | 15kW | 15kW OG6-EH3P15K02-NV-YD-L
35 |  |  |  | 3 | OG6-EH3P(30-60)K-H(21A) | 10 | OG6-EH3P30K-H(21A) | 30kW | 30kW OG6-EH3P30K-H(21A) | 76 kg | 530 × 880 × 290 mm | Done
36 | [5 empty] | 11 | OG6-EH3P40K-H(21A) | 40kW | 40kW OG6-EH3P40K-H(21A)
37 | [5 empty] | 12 | OG6-EH3P50K-H(21A) | 50kW | 50kW OG6-EH3P50K-H(21A)
38 | [5 empty] | 13 | OG6-EH3P60K-H(21A) | 60kW | 60kW OG6-EH3P60K-H(21A)
39 |  | C&I Hybrid Inverter |  | 4 | OG6-EH3P(80-125)K10-NV-YD-H | 14 | OG6-EH3P80K10-NV-YD-H | 80kW | 80kW OG6-EH3P80K10-NV-YD-H | 170 kg | 1174 × 814 × 400 mm | Done
40 | [5 empty] | 15 | OG6-EH3P100K10-NV-YD-H | 100kW | 100kW OG6-EH3P100K10-NV-YD-H
41 | [5 empty] | 16 | OG6-EH3P125K10-NV-YD-H | 125kW | 125kW OG6-EH3P125K10-NV-YD-H